## Slide 1: Acknowledgement Internet Images, available in Public Domain, have been used in many Slides of this Presentation. Some of the Images have also been Modified/Superimposed. Used only for Academic Purpose/Understanding.

## Slide 2
Typical Industrial Complex/Process Plant/Transportation Vehicle
Mechanical/ Structures, Piping, Roto-Dynamic Eqpt., DGs,
Process Eqpt. etc.
Electrical, Power Supplies/VFDs, Power Devices, DGs, etc.
Instrumentation, Process Sensors, Chemical-Electro-Chemical, Domain-specific Inst.
Computer based Systems, Embedded Real-time Sys. & OS, DAC, Historians, Alarm-Trip Annunciations, etc.

## Slide 3
Mechanical/ Roto-Dynamic Eqpt
  Roto-Dynamic Eqpt --- (I/P-O/P) ODE/PDE Models, Eigen-structures of Shafts , Thrust/Radial Bearing Models, Hydro-Dynamic & Hydro-Static Bearing Models

## Slide 4
Mechanical/ Process Eqpt.
  Heat & Mass Transfer Models

## Slide 5
Mechanical/ Process Eqpt.
  Heat & Mass Transfer Models

## Slide 6
Mechanical/ Piping
  Piping --- N/W Models, Thermal Expansion & Pipe Support Models

## Slide 7
Mechanical/ DGs, Process Eqpt.
IC Engine Models, Heat-Transfer with JCW of DGs, Synchronous Gen. D-Q Axis Models
Air Compressor Eqpt. Models, Inter-cooler Models, etc.
Electro-Chemistry, Ion-X Models, pH, K, etc.
Corrosion Models
Turbo-Visory Systems

## Slide 8
Electrical, Power Supplies/VFDs, Power Devices, etc.
Transfer Fn., State-space, Freq. Domain Models
D-Q Axes Framework/State-Space

## Slide 9
Electrical, Switchgear & Protection Relays
Transfer Fn., State-space, Freq. Domain Models

## Slide 10
Instrumentation, Actuators
Transfer Fn. Models, State-Space Models, Frequency Domain Models

## Slide 11
Instrumentation, Process Sensors
Rise-time, BW, Tr.Char. SS-Char., etc.

## Slide 12
Instrumentation, Process Sensors
Time Constants, Rise-time, Peltier/Seebeck effects, etc.

## Slide 13
Typical Process Loops
Characterizing Loop Performance

## Slide 14
Understanding Process Control Loops
Modeling Loops, Component Transfer Functions, Disturbance Transfer Functions, Performance Analysis of Controllers -- Open-Loop & Closed-Loop

## Slide 15
Control Valves
Pumps
Heat Exchangers
Primary Flow
Secy. Flow
Heat Source
Surge Tank
Header
Pressure Measurement
Suction
Discharge
Pneumatic Signal
Loop Performance Monitoring
Characterizing Segments of Loop

## Slide 16: Measurement Uncertainty, Errors & Estimation and EMI Aspects
Sensor/
Transducer Uncertainty Assessment
Error Budget in Signal Conditioning
Computer/ Server/ Historian
Parameter Monitoring/Alarms / Trips
Analog/Digital/μC Systems/ ASICS
Algorithm Solvers/ Number- Crunching/ Estimation/ Data-Processing/ Spectroscopy
Time Constants
EMI Shield – Conducted/ Radiated
HMI
Cable Selection
Process
Systems/ Piping/ Roto-Dynamic Eqpt./ Structures
Earlier Maintenance Paradigms

## Slide 17: Integrated Sensing & Smart Control Concepts for Systems, Structures & Equipment/Component (SSE/SSC)
Embedded Sensors/
Actuators/ Controls
Signal Reconstruction/
Data Analytics/
Error Computation/ Cancellation
Estimation of Noisy Data/Signal
Process
Systems/ Piping/ Roto-Dynamic Eqpt./ Structures
On-Line/Real-Time Monitoring of SSEs
Actuators for Performance Improvement
WSN or IOT Devices
Data Servers/ Historian
Algorithm Solvers/ Number- Crunching/ Estimation/ Data-Processing/ Spectroscopy
Cloud
EMI Shields
Parameter Monitoring/ Alarms/Plant Protection

## Slide 18
Incorporating the Information Back-bone in Industrial Facilities
Mechanical/ Structures, Piping, Roto-Dynamic Eqpt., DGs, Process Eqpt. etc.
Electrical, Power Supplies/VFDs, Power Devices, DGs, etc.
Instrumentation, Process Sensors, Chemical-Electro-Chemical, Domain-specific Inst.
Computer based Systems, Embedded Real-time Sys. & OS, DAC, Historians, Alarm-Trip Annunciations, etc.
Cyber-Physical Systems
Sensors, Signal Conditioning/Recovery, Data Acquisition
Embedded Computer based Systems for Controls
Decision Making & Auto-Closure of the FDD Loop
Prompting Human Operator on Actions to be Taken / Prompting/Initiating Maint. Action
Hybrid/Empirical Models of Systems, Structures, Eqpt. Inst.

## Slide 19
Plant-wide Monitoring --- Evolution of Control Room Design/Layout
Ergonomics & Anthropometrics
Data Mining/ Future Decisions on Mined Data
On-Line Data Processing/Intelligent Alarms/System Alerts/
Automated Decision
Increased use of SCADA & XR tools
HMI, Cybernetics & Cognitive Engineering

## Slide 20
Duplicating Physical Assets in Digital form
Creating Digital Twins

## Slide 21: Digital Twins for Equipment
Continuously Updated with Real-time Data

## Slide 22
  Continuous Updating with Real-time Data
IOT/WSN Devices
Continuous Performance Analysis