## Slide 2
Measurement Errors in Systems

## Slide 3
Field Instrumentation
Test Instrumentation
Absolute Accuracy
Relative Accuracy
Measurement Errors in Instrumentation Systems
DC Errors
Slew Rate
Calibration Paradigms
Non-Linear Anal.
Describing Fn.
Bandwidth/Rise-time

## Slide 4: The Least Square Approach
Error
Cost Function
Minimizing the Cost Function

## Slide 5
Each new measurement is used to update the previous least square estimate
  based on the previous measurements
  Instead of processing all of the measurement data at once, the measurements are processed one at a time,
  with each new measurement causing a modification in the current estimate
The least squares estimate based on the first k + 1 equations
  can therefore be expressed as a linear transformation of the least square estimate
  based on the first k measurements plus a linear correction term based on the (k + 1)th measurement alone
The Recursive Least Square Estimation Objective
Least square estimates are linear transformations of the measurements

## Slide 6
Recursive Least Square Estimation formulation

## Slide 7
Deriving the Recursive Least Square Estimation Formulation

## Slide 8
The Update Equation for the Recursive Least Square Estimation Problem

## Slide 9
Obtaining the Estimate by the Recursive Least Square Estimation Problem Formulation

## Slide 10
Recursive Least Square Estimation